## Annex F
Annex F. Health Impact
Device (bold): For the purpose of this Annex, a device means a medical device including accessories and components
LEVEL 1 | [5 empty] | LEVEL 2 | [5 empty] | LEVEL 3
IMDRF Term | FDA definition | NCI definition | IMDRF definition | NCI Code | FDA Code | IMDRF Term | FDA definition | NCI definition | IMDRF definition | NCI Code | FDA Code | IMDRF Term | FDA definition | NCI definition | IMDRF definition | NCI Code | FDA Code
Change in Therapeutic Response |  |  | Change in response to treatment or cure of a disorder or disease. | NEW | NEW | Therapeutic Response Decreased |  | A reduction in the desirable and beneficial effects resulting from a medical treatment. | A reduction in the desirable and beneficial effects resulting from a medical treatment. | C50526 | 2271
[6 empty] | Therapeutic Response Increased |  | An increase in the desirable and beneficial effects resulting from a medical treatment. | An increase in the desirable and beneficial effects resulting from a medical treatment. | C50611 | 2272
[6 empty] | Unexpected Therapeutic Effects |  | Unanticipated desirable and beneficial effects resulting from a medical treatment. | Unanticipated desirable and beneficial effects resulting from a medical treatment. | C50789 | 2099
Death |  | The cessation of life. | The cessation of life. | C28554 | 1802 | Cardiac Death |  | An unexpected natural death from a cardiac cause within a short time period from the onset of symptoms. The cessation of life due to heart abnormalities or disease. | The cessation of life due to heart abnormalities or disease. | C50911 | 2510 | Sudden Cardiac Death |  | An unexpected natural death from a cardiac cause within a short time period from the onset of symptoms. The cessation of life due to heart abnormalities or disease. | The cessation of life due to heart abnormalities or disease. | C50911 | 2510
[6 empty] | Cerebral Death |  |  | The cessation of life due to permanent loss of brain function and brainstem for absence of responsiveness to external stimuli, absence of reflex and apnea. | NEW | NEW
[6 empty] | Intrauterine Fetal Death | Death in utero; failure of the product of conception to show evidence of respiration, heart beat, or definite movement of a voluntary muscle after expulsion from the uterus, with no possibility of resuscitation. | Death of a fetus after 10 weeks gestation. | Death in utero; failure of the product of conception to show evidence of respiration, heart beat, or definite movement of a voluntary muscle after expulsion from the uterus, with no possibility of resuscitation. | C50620 | 1855
[6 empty] | Respiratory Death |  |  | The cessation of life due respiratory issues in situation which air can't be exchange with blood at the pulmonary level compromising the normal values of oxygen pressure and carbon dioxide. | NEW | NEW
Delay to Diagnosis | Patient diagnosis was delayed as a consequence of device performance. |  | Patient diagnosis was delayed as a consequence of device performance.
Delay to Treatment/ Therapy | Patient treatment was delayed as a consequence of device performance. |  | Patient treatment was delayed as a consequence of device performance.
Hospitalisation or Prolonged Hospitalisation |  |  | Hospitalization or prolonged hospitalization due to the health damage accompanying the use of medical equipment. |  |  | Intensive Care |  |  | Patient requires admission to or extension of stay in an intensive care unit. | NEW | NEW
Fetal Harm | fetal distress, congenital physical or mental impairment or birth defect |  | Fetal distress, congenital physical or mental impairment or birth defect.
Inadequate/Inappropriate Treatment | Patient did not receive intended treatment from a device or received inadequate treatment as a consequence of device performance. When to use: eg, Where event led to an under or an over exposure to radiation. When not to use: When there is delayed treatment. |  | Patient did not receive intended treatment from a device or received inadequate treatment as a consequence of device performance. |  |  | Absence of Treatment | Patient treatment was absent as a consequence of device performance. |  | Patient treatment was absent as a consequence of device performance.
[6 empty] | Incompatible Blood Transfusion |  |  | Receiving incorrect or incompatible whole blood or a blood component. | NEW | NEW
[6 empty] | Missed Dose |  | A dose of medicine that was not taken at the prescribed dosing interval. | A dose of medicine was not taken or delivered at the prescribed dosing interval. | C50429 | 2561
[6 empty] | Underdose |  | An inadequate amount of a treatment. | Exposure to, or intake of, an insufficient amount of a substance | C50428 | 2542 | Radiation Underdose |  | A lower than intended dose of radiation to a single field. | A lower than intended dose of radiation to a single field. | C52354 | 2166
[6 empty] | Overdose |  | Exposure to, or intake of, an excessive amount of a substance. | Exposure to, or intake of, an excessive amount of a substance. | C50873 | 1988 | Radiation Overdose |  | A higher than intended cumulative dose of radiation to a single field. | A higher than intended cumulative dose of radiation to a single field. | C50862 | 1510
Minor Injury/ Illness / Impairment |  |  | A mild injury, illness or impairment which can be treated with minimal or no intervention.
Serious Injury/ Illness/ Impairment |  |  | A severe injury, illness or impairment which requires hospitalization or medical intervention. |  |  | Chronic Disease |  |  | Disease that persists over a long period of time, cannot be prevented by vaccines or cured by medication, nor do they just disappear.
[6 empty] | Disability |  | Any physical or mental impairment that interferes with an individual's ability to perform desired activities. | Any physical or mental impairment that interferes with an individual's ability to perform desired activities. | C21007 | 2371
[6 empty] | Life Threatening Illness or Injury | Life threatening illness or injury. |  | Patient suffered a life threatening illness or injury.
[6 empty] | Permanent Impairment | Death in utero; failure of the product of conception to show evidence of respiration, heart beat, or definite movement of a voluntary muscle after expulsion from the uterus, with no possibility of resuscitation. | Irreversible deterioration of the state of health? | Death in utero; failure of the product of conception to show evidence of respiration, heart beat, or definite movement of a voluntary muscle after expulsion from the uterus, with no possibility of resuscitation.
[6 empty] | Temporary Impairment |  | reversible deterioration of the state of health. | reversible deterioration of the state of health.
Misdiagnosis/ Misclassification |  |  | An incorrect diagnosis or classification of an illness or other problem. | C50432 | 2159
Prolonged Episode of Care | Extended treatment time or procedureal time. Eg. Increased time in theatre, in x-ray or outpatient clinic. |  | Extended treatment time or procedureal time.
Recognised Procedural Complication | Patient experiencing a complicaton that is well documented/forseeable in association with the use of the device. Eg. Risk of second degree burn during the use of external defibrillator. Risk assessment documents that such a burn has been accepted in view of potential patient benefit and is warned in the instructions for use. |  | Patient experiencing a complication that is well documented in association with the use of the device.
Reduction in Life Expectancy |  |  | Decrease of lifetime/ lifespan from somebody. Decline in the normal duration or in average life.
Sedation |  | The process of allaying nervous excitement or the state of being calmed. (Taber's) | Patient required additional sedation. | C21097 | 2368
Rehabilitation |  |  | Patient requires treatment to facilitate the process of recovery from injury, illness, or disease.
Surgical Intervention |  |  | Required surgery or operating on a patient due to the health damage accompanying the use of medical equipment. |  |  | Additional Surgery |  |  | Surgical intervention that was not planned and needed to be performed in addition to other interventions including surgical ones. | NEW | NEW
[6 empty] | Amputation |  |  | Patient required surgical removal of limb, extremities or other external body parts. | NEW | NEW
[6 empty] | Device Explantation |  |  | Patient required a corrective invasive procedure in which a device was removed.
[6 empty] | Device Repositioning |  |  | Patient required a corrective invasive procedure in which a device was repositioned. This includes implantable, surgically invasive (penetration through the surface of the body) or invasive (penetration though a natural body orifice or permanent artificial opening, e.g. stoma) devices.
[6 empty] | Device Revision or Replacement | Patient required a corrective invasive procedure in which a device was replaced/revised. This includes implantable, surgically invasive (penetration through the surface of the body) or invasive (penetration though a natural body orifice or permanent artificial opening, e.g. stoma) devices. When to use: implant revision, IV cannula / CVC / PICC, urinary catheter or PEG / NG tube replaced. |  | Patient required a corrective invasive procedure in which a device was replaced/revised. This includes implantable, surgically invasive (penetration through the surface of the body) or invasive (penetration though a natural body orifice or permanent artificial opening, e.g. stoma) devices.
[6 empty] | Modified Surgical Procedure |  |  | A change of surgical procedures from the original plan.
[6 empty] | More Complex Surgery | Surgery that requires an additional treatment |  | Surgery that is more complicated, more comprehensive or more extensive than planned.
[6 empty] | Prolonged surgery |  | Surgery that is lengthy or that takes longer than anticipated. | Surgery that is lengthy or that takes longer than anticipated. | C50823
[6 empty] | Surgical Procedure Delayed |  |  | Surgical procedure unable to be completed when originally scheduled and put off until some time in the future. | NEW | NEW
Serious Public Health Threat |  |  | Any event type, which results in imminent risk of death, serious injury, or serious illness to more than one individual, that requires prompt remedial action.
Unexpected Deterioration | Unexpected clinical deterioration of patient. This includes respiratory arrest ie the cessation of normal breathing due to failure of the lungs to function effectively, and cardiac arrest ie cardiac arrest ie the cessation of functional circulation of the blood due to failure of the heart to contract effectively. |  | Unexpected clinical deterioration of patient. This includes for example respiratory arrest ie the cessation of normal breathing due to failure of the lungs to function effectively, and cardiac arrest ie cardiac arrest ie the cessation of functional circulation of the blood due to failure of the heart to contract effectively. | NEW | NEW
Unexpected Diagnostic Intervention |  |  | Diagnostic intervention needed to be completed that was not originally planned. |  |  | Biopsy |  |  | Patient required removal of tissue or fluid specimen to establish a diagnosis. | NEW | NEW
[6 empty] | Endoscopic Procedure |  |  | Patient required additional or unexpected endoscopic procedure. | NEW | NEW
[6 empty] | Imaging Required |  |  | Requirement for imaging that was not originally planned.
[6 empty] | IVD Testing |  |  | Pateint required additional or unexpected IVD testing. | NEW | NEW
Unexpected Medical Intervention |  |  | Patient required an unforeseen medical intervention which was not on the original treatment plan. |  |  | Additional Device Required |  |  | Use of an additional device require to achieve optimal outcome.
[6 empty] | Blood Transfusion |  |  | Patient required an infusion of whole blood or a blood component directly into the bloodstream. | NEW | NEW
[6 empty] | Medication Required |  |  | Patient required additional medication or additional dose of existing medication. | NEW | NEW
[6 empty] | Prophylactic Treatment |  |  | A medication or course of action used to prevent a possible disease or condition from occurring.
[6 empty] | Radiation Therapy |  | Treatment of a disease by means of exposure of the target or the whole body to radiation. Radiation therapy is often used as part of curative therapy and occasionally as a component of palliative treatment for cancer. Other uses include total body irradiation prior to transplantation. | Patient required addtional radiation therapy.
[6 empty] | Resuscitation |  | The measures applied for the restoration a person to life and/or consciousness. The act of resuscitation includes such components as artificial respiration and cardiac massage. | Patient required resuscitation.
Insufficient Information |  | Information regarding the subject is unknown or inaccessible at this time. | There is not yet enough information available to classify the health outcome. | C53269 | 3190
Newly Identified Complication |  |  | Complication occuring in the patient that had not previously been identified or expected for this device.
No Health Consequences Or Impact | No Death or Serious Injury Occurred but the Event Might Lead to Potential for Death or Serious Injury if the Event Recurs |  | No Death or Serious Injury Occurred but the Event Might Lead to Potential for Death or Serious Injury if the Event Recurs | C50675 | 2199
No Patient Involvement |  |  | No patient involvement when the adverse event occurred (for example happened during set-up or cleaning). | C50912 | 2645
No Code Available |  |  | The Health Impact is not adequately described by any other term. Note: this code must not be used unless there is no other feasible code. The preferred term should be documented when submitting an adverse event report. This information will be used to determine if a new term should be added to the code table. | C64343 | 3191