GHTF/SG2/N61R4:2004

WORKING DRAFT DOCUMENT

Global Harmonization Task Force

Title: PMS Harmonization Chart

Authoring Group: Study Group 2

Date:  November 2004

Table of Contents

1.0	Scope and introduction	4

2.0	References	4

3.0	Definitions	4

4.0	Harmonisation Chart	5

5.0	Conclusion	7

#### Preface

The document herein was produced by the Global Harmonization Task Force, a

voluntary group of representatives from medical device regulatory agencies and

the regulated industry.  The document is intended to provide non-binding

guidance to regulatory authorities for use in the regulation of medical devices,

and has been subject to consultation throughout its development.

There are no restrictions on the reproduction, distribution or use of this

document; however, incorporation of this document, in part or in whole, into any

other document, or its translation into languages other than English, does not

convey or represent an endorsement of any kind by the Global Harmonization Task

Force.

# Scope and introduction

GHTF SG2 N16R5 (the SG2 Charge and Mission Statement) identified a number of tasks for SG2.  The study group was to “define requirements for a common medical device vigilance system and provide an international protocol to define and facilitate the transmission of vigilance information on a global basis. “  This has been the focus of SG2 for a number of years and a number of approved documents have been produced.

Another task identified in the Charge and Mission statement was to “…define recommendations and guidelines of post-market surveillance”. This document represents the outcome of discussions on Post Market Surveillance (PMS) within SG2.  The first step was to identify post-market surveillance activities and related regulations (summarized in SG2-N47) and then determine if there was a potential for harmonization of those activities in some way.  This document reviews all post-market surveillance areas with a view to harmonization

# References

GHTF SG2 N47: Review of Current Requirements on Postmarket Surveillance

GHTF SG2 N16R5: SG2 Charge and Mission Statement

# Definitions

none

# Harmonisation Chart

Table 1 summarizes the current position of SG2 on the potential for harmonization regarding PMS activities and, where relevant, names of the organizations that in the opinion of the group would be best suited to cover the topic.

| Post Market Surveillance Activity | Short Description | Comments | Harmonisation Useful? | In what areas? | Recommendation on how to progress |
| --- | --- | --- | --- | --- | --- |
| Laboratory Testing | Testing of product for compliance with standards |  | no |  | Sharing of corrective action taken covered by NCAR (SG2-N20). Standards against which tests are done developed by ISO |
| Market Surveys on Information | Market Surveys of Technical and clinical documentation | In the US & JP this is a pre-market activity - In CA and AU this is done as a follow up to an issue with specific types of devices. | no |  | Results of surveys may be shared using NCARs. |
| Audits of Manufacturer Facilities | Inspect manufacturer processes and procedures for production and complaints handling | only periodic audits in JP | yes | auditing reports and techniques | addressed by SG4 |
| Technical File Reviews | Review of Clinical and Technical Information for a specific product |  | no |  | Standards for technical files are addressed by SG1. Result of review may be shared using an NCAR |
| Review of Product Claims/Labeling | Labeling includes labels, IFU, promotional materials, websites |  | no |  |  |
| Condition of Approval Studies, PMS Studies, re-evaluation re-examination schemes | Review of product -associated clinical trials | AU has the authority to impose conditions including request studies but studies are not normally requested. In EU, at the request of a Notified Body | yes | Common format for submitting report | Could be addressed by SG5 |
| Recalls | Order, Monitor, and Classify product recalls, and disseminate written communications to appropriate recipients | This may be an enforcement activity not part of PMS. CA cannot order a recall. EU does not classify recalls | yes | what to report in a recall, information given to affected users | N57 will address this. |
| Enforcement | Prohibit distribution of violative products via regulatory processes such as injunction, product seizure, import detention, etc. | This may be an enforcement activity not part of PMS | no |  | Enforcement per se does not need to be harmonised. Safety related measures taken are addressed shared by NCAR. |
| Vigilance/AE Monitoring | Evaluate and investigate reported device problems and complaints |  | yes |  | Addressed by SG2-N54 |
| Public Access to Information | Provide public access to information taken and reported to the Agency |  | no |  | Related to legislation normally out of control of NCAs |
| Standards Activities | Participate in global and international programs towards standardization and harmonization |  | no |  | Other groups are responsible. |
| Other Post-Market feedback | Information on device performance in post-market phase. |  | yes | What is the minimum requirement for a “systematic review of experience gained …” (ISO 13485) | This is related to QS. Could be addressed by SG3 |

# Conclusion

The SG2 review of areas of post-market surveillance where there is a potential value in harmonization resulted in the identification of a number of areas where harmonization is recommended.

However there is only one area where SG2 feels it is within their mandate to pursue harmonization.  That is in the category of recalls including what to report in a recall and what information should be given to users.

This topic is currently being developed based on an approved work item by the GHTF Steering Committee and is covered by document SG2-N57.