## Slide 1
Day 1 IMDRF Industry Joint Workshop | 14 September 2026

## Slide 2: Pre-Determined Change Control Plan (PCCP)
Neil A. Mafnas, M.S., R.A.C.
International Affairs, CDRH
U.S. Food and Drug Administration

## Slide 3: Objectives
PCCP
IMDRF N90
1
Background & Context
2
Essential Principles
3
PCCP Elements
4
Benefits & Challenges
5
USFDA Perspective

## Slide 4: Objectives
PCCP
IMDRF N90
1
Background & Context
2
Essential Principles
3
PCCP Elements
4
Benefits & Challenges
5
USFDA Perspective

## Slide 5: Objectives
PCCP
IMDRF N90
1
Background & Context
2
Essential Principles
3
PCCP Elements
4
Benefits & Challenges
5
USFDA Perspective

## Slide 6: Objectives
PCCP
IMDRF N90
1
Background & Context
2
Essential Principles
3
PCCP Elements
4
Benefits & Challenges
5
USFDA Perspective

## Slide 7: Objectives
PCCP
IMDRF N90
1
Background & Context
2
Essential Principles
3
PCCP Elements
4
Benefits & Challenges
5
USFDA Perspective

## Slide 8
Advancements
*Diagnostics
*Treatment
*Patient Management
PCCP
IMDRF N90
Device Modification
*Rapid software dev. pace
*Frequent need for updates
PCCP
*Authorization for planned changes
*Reduced regulatory submissions
*Enables responsible innovation
Background
Context
&
Notes: Medical device software is integral to modern healthcare — driving advances in diagnostics, treatment, and patient management.

## Slide 9
Advancements
*Diagnostics
*Treatment
*Patient Management
PCCP
IMDRF N90
Device Modification
*Rapid software dev. pace
*Frequent need for updates
PCCP
Background
Context
&
Notes: Medical device software is integral to modern healthcare — driving advances in diagnostics, treatment, and patient management.

## Slide 10
Advancements
*Diagnostics
*Treatment
*Patient Management
PCCP
IMDRF N90
Device Modification
*Rapid software dev. pace
*Frequent need for updates
PCCP
*Authorization for planned changes
*Reduced regulatory submissions
*Enables responsible innovation
Background
Context
&
Notes: The rapid pace of software development creates tension with traditional regulatory processes, which can delay important updates and hinder patient access.
Frequent software updates are often needed to improve functionality, address real-world use, and adapt to evolving clinical environments.

## Slide 11
Advancements
*Diagnostics
*Treatment
*Patient Management
PCCP
IMDRF N90
Device Modification
*Rapid software dev. pace
*Frequent need for updates
PCCP
*Authorization for planned changes
*Reduced regulatory submissions
*Enables responsible innovation
Background
Context
&
Notes: PCCPs offer a path forward: allowing manufacturers to seek authorization for planned changes upfront, enabling responsible innovation without repeated regulatory submissions.

## Slide 12
Advancements
*Diagnostics
*Treatment
*Patient Management
PCCP
IMDRF N90
Device Modification
*Rapid software dev. pace
*Frequent need for updates
PCCP
Predetermined Change Control Plan
Specific planned
changes to the
medical device
Plan/protocol for
implementing
change – with
predefined
acceptance criteria
Assessment of
impacts from
those changes
Notes: A Predetermined Change Control Plan (PCCP) is a plan, proposed by a manufacturer, that describes:
  The specific planned changes to the medical device software
  The change plan/protocol for implementing and controlling those changes, with predefined acceptance criteria
  The assessment of impacts from those changes

## Slide 13
Advancements
*Diagnostics
*Treatment
*Patient Management
PCCP
IMDRF N90
Device Modification
*Rapid software dev. pace
*Frequent need for updates
PCCP
Predetermined Change Control Plan
Allow manufacturers to gain regulatory authorization for planned updates
before they are implemented, while providing assurance that devices
remain safe and effective.
OPTIONAL – One way to manage planned changes within a robust QMS
Notes: Purpose: PCCPs allow manufacturers to gain regulatory authorization for planned updates before they are implemented, while providing assurance that devices remain safe and effective.
Scope: Applies to medical device software (including SaMD) — focused on changes that would otherwise require a new regulatory submission.
Optional Mechanism: PCCPs are not mandatory; they are one way to manage planned changes within a robust quality management system.

## Slide 14: Global Evolution of Predetermined Change Control Plans (PCCPs) How PCCP concepts, guidance, and change-management frameworks have spread across global regulators PCCP = Predetermined Chang Control Plan
Canada (Health Canada)
2025: Final PCCP guidance for machine learning-enabled medical devices
Joint PCCP Guiding Principles
2023: US FDA + Health Canada + UK MHRA
Five guiding principles for machine
learning-enabled devices
ORIGIN
United States (FDA)
2019: Discussion paper introduces PCCP concept
2022: Legislation expands voluntary PCCP use across pathways
2024: Draft general PCCP guidance
2024: Final AI-enabled PCCP guidance
2025: Minor update to AI guidance
IMDRF
Global harmonization milestone
2025: Draft document
Essential Principles and Content of PCCPs
2026: Document finalized
United Kingdom (MHRA)
2022: SaMD/AI roadmap commits to future PCCP process
European Union (EC/EP/C)
2024: Embedded in EU AI Act
Applied as of 2028
Japan (PMDA/MHLW)
2019: IDATEN introduced
2020: Operational implementation
begins
Australia (TGA) (proposed)
guidance under consultation2026: Draft PCCP
Applies to medical device software, including AI/ML-enabled SaMD
Korea (MFDS)
2025: Digital Medical Products Act implemented
Introduces a change-management plan framework for AI-enabled medical devices
Detailed guidance expected
Malaysia (MDA)
2025/2026: Change-management guidance includes PCCP for SaMD
Singapore (HSA)
2024: Draft CMP guidance consultation
2024: GN-37-R1 pilot establishes CMP for SaMD and ML-SaMD
2025: Related guidance reinforces CMP and pre-specified changes

## Slide 15
Essential
Principles
1.0
1.1
Changes
Continued Safety & Effectiveness
Within Original intended use/purpose
Risk
Risk-based approach for design/implementation
Integrated within existing Risk Management Framework
Evidence
Essential for ongoing safety & effectiveness
Confirm benefits outweigh risks
PCCP
IMDRF N90
Notes: Focused and Bounded: A PCCP describes intended changes with enough specificity to ensure continued safety and effectiveness. Changes must remain within the original intended use/purpose of the device.
Risk-Based: The design and implementation of a PCCP must be driven by a risk-based approach, integrated within the manufacturer's existing risk management framework.
Evidence-Based: Evidence generated throughout the Total Product Lifecycle (TPLC) is essential to ensure ongoing safety and effectiveness, and to confirm that benefits outweigh risks.
Transparent: Clear, meaningful, and timely communication to intended users and regulators is a best practice — users must remain aware of the software's performance before and after changes.
Total Product Lifecycle (TPLC): PCCPs should be developed and maintained from a TPLC perspective, continually considering user perspectives, new data, and risk management practices.

## Slide 16
Essential
Principles
1.0
1.1
Changes
Continued Safety & Effectiveness
Within Original intended use/purpose
Risk
Risk-based approach for design/implementation
Integrated within existing Risk Management Framework
Evidence
Essential for ongoing safety & effectiveness
Confirm benefits outweigh risks
PCCP
IMDRF N90
Notes: Focused and Bounded: A PCCP describes intended changes with enough specificity to ensure continued safety and effectiveness. Changes must remain within the original intended use/purpose of the device.
Risk-Based: The design and implementation of a PCCP must be driven by a risk-based approach, integrated within the manufacturer's existing risk management framework.
Evidence-Based: Evidence generated throughout the Total Product Lifecycle (TPLC) is essential to ensure ongoing safety and effectiveness, and to confirm that benefits outweigh risks.
Transparent: Clear, meaningful, and timely communication to intended users and regulators is a best practice — users must remain aware of the software's performance before and after changes.
Total Product Lifecycle (TPLC): PCCPs should be developed and maintained from a TPLC perspective, continually considering user perspectives, new data, and risk management practices.

## Slide 17
Essential
Principles
1.0
1.1
Changes
Continued Safety & Effectiveness
Within Original intended use/purpose
Risk
Risk-based approach for design/implementation
Integrated within existing Risk Management Framework
Evidence
Essential for ongoing safety & effectiveness
Confirm benefits outweigh risks
PCCP
IMDRF N90
Notes: Focused and Bounded: A PCCP describes intended changes with enough specificity to ensure continued safety and effectiveness. Changes must remain within the original intended use/purpose of the device.
Risk-Based: The design and implementation of a PCCP must be driven by a risk-based approach, integrated within the manufacturer's existing risk management framework.
Evidence-Based: Evidence generated throughout the Total Product Lifecycle (TPLC) is essential to ensure ongoing safety and effectiveness, and to confirm that benefits outweigh risks.
Transparent: Clear, meaningful, and timely communication to intended users and regulators is a best practice — users must remain aware of the software's performance before and after changes.
Total Product Lifecycle (TPLC): PCCPs should be developed and maintained from a TPLC perspective, continually considering user perspectives, new data, and risk management practices.

## Slide 18
Essential
Principles
1.0
1.1
Changes
Continued Safety & Effectiveness
Within Original intended use/purpose
Risk
Risk-based approach for design/implementation
Integrated within existing Risk Management Framework
Evidence
Essential for ongoing safety & effectiveness
Confirm benefits outweigh risks
PCCP
IMDRF N90
Notes: Focused and Bounded: A PCCP describes intended changes with enough specificity to ensure continued safety and effectiveness. Changes must remain within the original intended use/purpose of the device.
Risk-Based: The design and implementation of a PCCP must be driven by a risk-based approach, integrated within the manufacturer's existing risk management framework.
Evidence-Based: Evidence generated throughout the Total Product Lifecycle (TPLC) is essential to ensure ongoing safety and effectiveness, and to confirm that benefits outweigh risks.
Transparent: Clear, meaningful, and timely communication to intended users and regulators is a best practice — users must remain aware of the software's performance before and after changes.
Total Product Lifecycle (TPLC): PCCPs should be developed and maintained from a TPLC perspective, continually considering user perspectives, new data, and risk management practices.

## Slide 19
Essential
Principles
Clear, meaningful & timely
Users aware of performance pre/post changes
PCCP
IMDRF N90
Transparency
TPLC
Developed & maintained with TPLC in mind
Continual consideration of user input, data &
risk management practices
Notes: Focused and Bounded: A PCCP describes intended changes with enough specificity to ensure continued safety and effectiveness. Changes must remain within the original intended use/purpose of the device.
Risk-Based: The design and implementation of a PCCP must be driven by a risk-based approach, integrated within the manufacturer's existing risk management framework.
Evidence-Based: Evidence generated throughout the Total Product Lifecycle (TPLC) is essential to ensure ongoing safety and effectiveness, and to confirm that benefits outweigh risks.
Transparent: Clear, meaningful, and timely communication to intended users and regulators is a best practice — users must remain aware of the software's performance before and after changes.
Total Product Lifecycle (TPLC): PCCPs should be developed and maintained from a TPLC perspective, continually considering user perspectives, new data, and risk management practices.

## Slide 20
Essential
Principles
Clear, meaningful & timely
Users aware of performance pre/post changes
PCCP
IMDRF N90
Transparency
TPLC
Developed & maintained with TPLC in mind
Continual consideration of user input, data &
risk management practices
Notes: Focused and Bounded: A PCCP describes intended changes with enough specificity to ensure continued safety and effectiveness. Changes must remain within the original intended use/purpose of the device.
Risk-Based: The design and implementation of a PCCP must be driven by a risk-based approach, integrated within the manufacturer's existing risk management framework.
Evidence-Based: Evidence generated throughout the Total Product Lifecycle (TPLC) is essential to ensure ongoing safety and effectiveness, and to confirm that benefits outweigh risks.
Transparent: Clear, meaningful, and timely communication to intended users and regulators is a best practice — users must remain aware of the software's performance before and after changes.
Total Product Lifecycle (TPLC): PCCPs should be developed and maintained from a TPLC perspective, continually considering user perspectives, new data, and risk management practices.

## Slide 21
Essential
Principles
Clear, meaningful & timely
Users aware of performance pre/post changes
PCCP
IMDRF N90
Transparency
TPLC
Developed & maintained with TPLC in mind
Continual consideration of user input, data &
risk management practices
Notes: Focused and Bounded: A PCCP describes intended changes with enough specificity to ensure continued safety and effectiveness. Changes must remain within the original intended use/purpose of the device.
Risk-Based: The design and implementation of a PCCP must be driven by a risk-based approach, integrated within the manufacturer's existing risk management framework.
Evidence-Based: Evidence generated throughout the Total Product Lifecycle (TPLC) is essential to ensure ongoing safety and effectiveness, and to confirm that benefits outweigh risks.
Transparent: Clear, meaningful, and timely communication to intended users and regulators is a best practice — users must remain aware of the software's performance before and after changes.
Total Product Lifecycle (TPLC): PCCPs should be developed and maintained from a TPLC perspective, continually considering user perspectives, new data, and risk management practices.

## Slide 22
Description of
Changes
Change
Plan
Impact
Assessment
PCCP
PCCP
IMDRF N90
3
Elements
Notes: A well-formulated PCCP consists of three interconnected elements:
  1. Description of Changes — What changes will be made and why
  2. Change Plan — How changes will be developed, validated, and deployed
  3. Impact Assessment — What is the impact of the changes on safety and effectiveness
These elements are designed to provide regulatory authorities with the comprehensive information needed to review proposed changes and authorize a PCCP.
Traceability is key: Each proposed change should be linked to specific verification and validation protocols within the Change Plan to support efficient regulatory review.
Version Control: Manufacturers should maintain clear version control so regulators and manufacturers can identify and track the final authorized version of a PCCP.

## Slide 23
Description of
Changes
Change
Plan
Impact
Assessment
PCCP
PCCP
IMDRF N90
3
Elements
Proposed changes + Rationale
Performance specs that can be
verified, validated & deployed
Clear boundaries to limit range
of proposed changes
Implementation Approach
Notes: Description of Changes - Identifies the specific planned changes to the medical device software with enough detail to assess continued safety and effectiveness.
Should include:
  A list of individual proposed changes and the specific rationale for each
  Performance specifications for the changed device that can be verified, validated, and deployed
  Clearly defined boundaries that limit the range of proposed changes
Also specifies implementation approach — for example:
  Whether changes are global (applied uniformly to all devices) or local (tailored to specific clinical sites or patients)
  Whether changes are implemented automatically by software, manually with user input, or a combination of both
  The expected frequency of updates, if known

## Slide 24
Description of
Changes
Change
Plan
Impact
Assessment
PCCP
PCCP
IMDRF N90
3
Elements
Proposed changes + Rationale
Performance specs that can be
verified, validated & deployed
Clear boundaries to limit range
of proposed changes
Implementation Approach
How changes are developed
validated & deployed
Performance Evaluation Methods
Update Procedures
Notes: The Change Plan describes how changes will be developed, validated, and deployed. It has two primary components:
Performance Evaluation Methods:
  Plans to verify and validate that the changed software meets specifications for the specific change AND continues to meet requirements not directly changed but potentially impacted
  Details on data, test methods, acceptance criteria, statistical tests, and related evidence
  Documents how failures in performance evaluation will be recorded and how changes that fail acceptance criteria will be prevented from being implemented
Update Procedures:
  How changes will be deployed and communicated to intended users
  Labeling update plans, post-market surveillance plans, and real-world monitoring procedures
  Notification requirements if the software does not function as intended after implementation

## Slide 25
Description of
Changes
Change
Plan
Impact
Assessment
PCCP
PCCP
IMDRF N90
3
Elements
How changes are developed
validated & deployed
Performance Evaluation Methods
Update Procedures
Evaluates Benefits & Risk
Additional/Unmitigated Risk are
unlikely
Safety/Effectiveness Maintained
or Improved
Notes: The Impact Assessment evaluates the anticipated benefits and risks — individually and cumulatively — of implementing the changes in a PCCP, along with risk mitigations.
Provides assurance that proposed changes are unlikely to introduce additional, unmitigated risks and that safety and effectiveness are maintained or improved.
Manufacturers should address:
  Comparison of the device with each change implemented individually versus the unchanged version
  Anticipated benefits and risks for each change (including risks of harm and unintended bias in AI devices)
  How the Change Plan methods will maintain safety and effectiveness
  How implementation of one change may impact other planned changes
  The cumulative impact of implementing all changes together
The manufacturer's existing quality management system should serve as the framework for conducting the Impact Assessment.

## Slide 26
Change
Plan
Impact
Assessment
Description of
Changes
PCCP
PCCP
IMDRF N90
3
Elements

## Slide 27
HC Systems
Industry
Gov’t
Patients
Benefits of PCCPs

## Slide 28
HC Systems
Industry
Gov’t
Patients
Faster access to improvements
enabling better health outcomes
Support incorporation of new clinical
evidence for more accurate/reliable care
Proactive response to real-world use
keeping software current & safe
Benefits of PCCPs
Notes: For Patients:
  Faster access to improvements in medical device software, enabling better health outcomes
  Supports incorporation of new clinical evidence for more accurate and reliable care
  Enables proactive response to real-world use, keeping software current and safe

## Slide 29
HC Systems
Industry
Gov’t
Patients
Faster access to improvements
enabling better health outcomes
Support incorporation of new clinical
evidence for more accurate/reliable care
Proactive response to real-world use
keeping software current & safe
Benefits of PCCPs
Notes: For Patients:
  Faster access to improvements in medical device software, enabling better health outcomes
  Supports incorporation of new clinical evidence for more accurate and reliable care
  Enables proactive response to real-world use, keeping software current and safe

## Slide 30
HC Systems
Industry
Gov’t
Patients
Faster access to improvements
enabling better health outcomes
Support incorporation of new clinical
evidence for more accurate/reliable care
Proactive response to real-world use
keeping software current & safe
Benefits of PCCPs
Notes: For Patients:
  Faster access to improvements in medical device software, enabling better health outcomes
  Supports incorporation of new clinical evidence for more accurate and reliable care
  Enables proactive response to real-world use, keeping software current and safe

## Slide 31
Patients
Benefits of PCCPs
Healthcare Systems
Notes: For Healthcare Systems:
  Supports forward-planning of updates, minimizing disruption to clinical workflows
  Aligns with the evolving nature of modern healthcare — enabling adaptive, learning systems

## Slide 32
Benefits of PCCPs
Supports forward-planning
of updates, minimizing
disruption of
clinical workflows
Healthcare Systems
Notes: For Healthcare Systems:
  Supports forward-planning of updates, minimizing disruption to clinical workflows
  Aligns with the evolving nature of modern healthcare — enabling adaptive, learning systems

## Slide 33
Benefits of PCCPs
Healthcare Systems
Supports forward-planning
of updates, minimizing
disruption of
clinical workflows
Aligns with modern
Healthcare - adaptive
learning systems
Gov’t
Industry
Notes: For Healthcare Systems:
  Supports forward-planning of updates, minimizing disruption to clinical workflows
  Aligns with the evolving nature of modern healthcare — enabling adaptive, learning systems

## Slide 34
Gov’t
Industry
Benefits of PCCPs
Fewer regulatory
submissions

## Slide 35
Benefits of PCCPs
Fewer regulatory
submissions
Gov’t
Industry
Notes: For Manufacturers and Regulators:
  Reduces the number of separate regulatory submissions over a product's lifecycle
  Optimizes authorization timelines and conserves resources for both parties
  Promotes early and ongoing collaboration between manufacturers and regulatory authorities
  Provides regulators with deeper insight into expected market developments and horizon scanning

## Slide 36
Benefits of PCCPs
Fewer regulatory
submissions
Gov’t
Industry
Insight into expected
market developments &
horizon scanning
Notes: For Manufacturers and Regulators:
  Reduces the number of separate regulatory submissions over a product's lifecycle
  Optimizes authorization timelines and conserves resources for both parties
  Promotes early and ongoing collaboration between manufacturers and regulatory authorities
  Provides regulators with deeper insight into expected market developments and horizon scanning

## Slide 37
Benefits of PCCPs
Fewer regulatory
submissions
Gov’t
Industry
Insight into expected
market developments &
horizon scanning
Early/ongoing
communications
Notes: For Manufacturers and Regulators:
  Reduces the number of separate regulatory submissions over a product's lifecycle
  Optimizes authorization timelines and conserves resources for both parties
  Promotes early and ongoing collaboration between manufacturers and regulatory authorities
  Provides regulators with deeper insight into expected market developments and horizon scanning

## Slide 38
Benefits of PCCPs
Gov’t
Industry
Optimizes authorization
times
Early/ongoing
communications
Insight into expected
market developments &
horizon scanning
Fewer regulatory
submissions
Notes: For Manufacturers and Regulators:
  Reduces the number of separate regulatory submissions over a product's lifecycle
  Optimizes authorization timelines and conserves resources for both parties
  Promotes early and ongoing collaboration between manufacturers and regulatory authorities
  Provides regulators with deeper insight into expected market developments and horizon scanning

## Slide 39
Challenges
PCCP
COMPLEXITIES
Reviews
Submissions
TRACEABILITY &
IMPLEMENTATION
INTERNATIONAL
VARIATION
Notes: More Complex Submissions: PCCPs require extensive documentation and evidence gathering upfront — increasing preparation time, initial costs, and resource demands, particularly for smaller manufacturers.
Regulatory Review Complexity: PCCPs represent an additional component in a submission, requiring more regulatory resources; reviewers are still gaining familiarity with novel PCCP proposals.
Traceability and Implementation: PCCPs redistribute risk across the lifecycle — requiring robust traceability mechanisms, change management, and cumulative change monitoring throughout the TPLC.
International Variation: Not all jurisdictions accept PCCPs. Differences in risk thresholds, frameworks, and reliance mechanisms can complicate multi-jurisdictional PCCP strategies.
Reliance Frameworks: Jurisdictions with reliance mechanisms must account for jurisdictional differences in generalizability, acceptable standards, and evidence requirements — harmonization is still evolving.

## Slide 40
Challenges
PCCP
COMPLEXITIES
Reviews
Submissions
TRACEABILITY &
IMPLEMENTATION
INTERNATIONAL
VARIATION
Notes: More Complex Submissions: PCCPs require extensive documentation and evidence gathering upfront — increasing preparation time, initial costs, and resource demands, particularly for smaller manufacturers.
Regulatory Review Complexity: PCCPs represent an additional component in a submission, requiring more regulatory resources; reviewers are still gaining familiarity with novel PCCP proposals.
Traceability and Implementation: PCCPs redistribute risk across the lifecycle — requiring robust traceability mechanisms, change management, and cumulative change monitoring throughout the TPLC.
International Variation: Not all jurisdictions accept PCCPs. Differences in risk thresholds, frameworks, and reliance mechanisms can complicate multi-jurisdictional PCCP strategies.
Reliance Frameworks: Jurisdictions with reliance mechanisms must account for jurisdictional differences in generalizability, acceptable standards, and evidence requirements — harmonization is still evolving.

## Slide 41
Challenges
PCCP
COMPLEXITIES
Reviews
Submissions
TRACEABILITY &
IMPLEMENTATION
INTERNATIONAL
VARIATION
Notes: More Complex Submissions: PCCPs require extensive documentation and evidence gathering upfront — increasing preparation time, initial costs, and resource demands, particularly for smaller manufacturers.
Regulatory Review Complexity: PCCPs represent an additional component in a submission, requiring more regulatory resources; reviewers are still gaining familiarity with novel PCCP proposals.
Traceability and Implementation: PCCPs redistribute risk across the lifecycle — requiring robust traceability mechanisms, change management, and cumulative change monitoring throughout the TPLC.
International Variation: Not all jurisdictions accept PCCPs. Differences in risk thresholds, frameworks, and reliance mechanisms can complicate multi-jurisdictional PCCP strategies.
Reliance Frameworks: Jurisdictions with reliance mechanisms must account for jurisdictional differences in generalizability, acceptable standards, and evidence requirements — harmonization is still evolving.

## Slide 42
Challenges
PCCP
COMPLEXITIES
Reviews
Submissions
TRACEABILITY &
IMPLEMENTATION
INTERNATIONAL
VARIATION
Notes: More Complex Submissions: PCCPs require extensive documentation and evidence gathering upfront — increasing preparation time, initial costs, and resource demands, particularly for smaller manufacturers.
Regulatory Review Complexity: PCCPs represent an additional component in a submission, requiring more regulatory resources; reviewers are still gaining familiarity with novel PCCP proposals.
Traceability and Implementation: PCCPs redistribute risk across the lifecycle — requiring robust traceability mechanisms, change management, and cumulative change monitoring throughout the TPLC.
International Variation: Not all jurisdictions accept PCCPs. Differences in risk thresholds, frameworks, and reliance mechanisms can complicate multi-jurisdictional PCCP strategies.
Reliance Frameworks: Jurisdictions with reliance mechanisms must account for jurisdictional differences in generalizability, acceptable standards, and evidence requirements — harmonization is still evolving.

## Slide 43
U.S. Food and Drug Administration
PCCP Perspective

## Slide 44
PCCP
PCCP
PCCP
PCCPs with varying
Modification types
200+
Authorized

## Slide 45
PCCP
PCCP
PCCP
PCCPs with varying
modification types
200+
Authorized

## Slide 46
PCCP
PCCP
Device types across all Office of Health Technology areas
AI-enabled devices & non-software devices
200+
Authorized
PCCPs
Manufacturing Modifications
Shelf-life additions & Line Extensions are common
Notes: Receiving PCCPs that span the gamut in terms of modification types, specificity, and for a variety of device types

## Slide 47
PCCP
PCCP
PCCP
Device types across all Office of Health Technology areas
AI-enabled devices & non-software devices
200+
Authorized
PCCPs
Manufacturing Modifications
Shelf-life extensions & Line Extensions are common
July 2026 – 21 devices with PCCPs authorized
across 18 unique manufacturers
Notes: We see many PCCPs containing manufacturing modifications for PMA devices; shelf life additions and line extensions are common modification types to include in a PCCP for other device types

## Slide 48
PCCP
PCCP
PCCP
Device types across all Office of Health Technology areas
AI-enabled devices & non-software devices
200+
Authorized
PCCPs
Manufacturing Modifications
Shelf-life extensions & Line Extensions are common
July 2026 – 21 devices with PCCPs authorized
across 18 unique manufacturers

## Slide 49
Early
Feedback
Modifications
Maintain
Intended Use
Remain
Substantially
Equivalent
to Predicate
Mods clearly
defined & are
evaluated using
methods described
Q-Sub/
Pre-Submissions
Focus questions
on modifications
being considered
Or questions
on evaluation method
for the mod(s)
t
Strong
Engagement
Increased
Use of PCCPs
Notes: PCCPs should focus on modifications that require a new marketing submission, maintain the device’s intended use, and as applicable, allow the device to remain substantially equivalent to the predicate device; modifications types in PCCPs that are successful are those that are clearly defined and are able to be evaluated using the methods described
Industry engagement overall is strong, evidenced by the 200+ authorized PCCPs and growing participation across diverse device types and manufacturers

## Slide 50
Early
Feedback
Modifications
Maintain
Intended Use
Remain
Substantially
Equivalent
to Predicate
Mods clearly
defined & are
evaluated using
methods described
Q-Sub/
Pre-Submissions
Focus questions
on modifications
being considered
Or questions
on evaluation method
for the mod(s)
t
Strong
Engagement
Increased
Participation
Notes: For Pre-Submissions, it is most productive to focus Q-Sub questions on the *types* of modifications being considered or the *specific evaluation method* proposed for a particular modification — not on submitting an entire PCCP for review.

## Slide 51
Early
Feedback
Modifications
Maintain
Intended Use
Remain
Substantially
Equivalent
to Predicate
Mods clearly
defined & are
evaluated using
methods described
Q-Sub/
Pre-Submissions
Focus questions
on modifications
being considered
Or questions
on evaluation method
for the mod(s)
t
Strong
Engagement
Increased
Participation